## Digital Micromirror Device
| Intensity [mW/cm2] | Intensity [lux] | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | System A | System B | System C
[27 empty] | Normalied PCE | Normalied PCE | Normalied PCE
DMD |  |  | System A | System A | System A | System A | System A | System A | System A | System A | System B | System B | System B | System B | System B | System B | System B | System B | System C | System C | System C | System C | System C | System C | System C | System C | System A | System B | System C
DMD 14% | 0.34364 | 1000 | 0.14997 | 1.061 | 0.96825 | -0.14615 | 0.14151 | 0.4118 | 0.0003365 | 0.20202 | 0.1426 | 0.82466 | 0.73855 | -0.13788 | 0.10183 | 0.29634 | 2.2874e-05 | 0.26993 | 0.13417 | 0.78912 | 0.70416 | -0.12952 | 0.09121 | 0.26541 | 6.7938e-06 | 0.3006 | 0.9711 | 1.0523 | 1.1311
DMD 29% | 0.34375 | 1000 | 0.15008 | 1.061 | 0.96827 | -0.14627 | 0.14162 | 0.41199 | 0.0003365 | 0.20202 | 0.14259 | 0.82466 | 0.73854 | -0.13788 | 0.10183 | 0.29622 | 2.2874e-05 | 0.26993 | 0.13417 | 0.78912 | 0.70416 | -0.12952 | 0.0912 | 0.26532 | 6.7938e-06 | 0.3006 | 0.97065 | 1.0527 | 1.1315
DMD 41% | 0.34414 | 1000 | 0.15021 | 1.0611 | 0.96829 | -0.14639 | 0.14174 | 0.41189 | 0.0003365 | 0.20202 | 0.1427 | 0.82468 | 0.73856 | -0.13798 | 0.10191 | 0.29612 | 2.2874e-05 | 0.26993 | 0.13428 | 0.78914 | 0.70418 | -0.12963 | 0.09128 | 0.26524 | 6.7938e-06 | 0.3006 | 0.9709 | 1.0531 | 1.1318
DMD 57% | 0.34411 | 1000 | 0.15023 | 1.0611 | 0.96829 | -0.14641 | 0.14177 | 0.41199 | 0.0003365 | 0.20202 | 0.1427 | 0.82468 | 0.73856 | -0.13798 | 0.10191 | 0.29615 | 2.2874e-05 | 0.26993 | 0.13428 | 0.78914 | 0.70418 | -0.12963 | 0.09128 | 0.26526 | 6.7938e-06 | 0.3006 | 0.97066 | 1.053 | 1.1317
DMD 71% | 0.34413 | 1000 | 0.15026 | 1.0611 | 0.96829 | -0.14644 | 0.1418 | 0.41204 | 0.0003365 | 0.20202 | 0.14272 | 0.82469 | 0.73857 | -0.138 | 0.10192 | 0.29617 | 2.2874e-05 | 0.26993 | 0.13429 | 0.78914 | 0.70418 | -0.12964 | 0.09129 | 0.26528 | 6.7938e-06 | 0.3006 | 0.97053 | 1.0529 | 1.1317
DMD 86% | 0.34426 | 1000 | 0.15029 | 1.0611 | 0.9683 | -0.14647 | 0.14183 | 0.41199 | 0.0003365 | 0.20202 | 0.14274 | 0.82469 | 0.73857 | -0.13802 | 0.10194 | 0.29612 | 2.2874e-05 | 0.26993 | 0.13432 | 0.78914 | 0.70419 | -0.12967 | 0.09131 | 0.26524 | 6.7938e-06 | 0.3006 | 0.97066 | 1.0531 | 1.1318
Unattenuated | 0.34394 | 1000 | 0.15022 | 1.0611 | 0.96829 | -0.1464 | 0.14176 | 0.41215 | 0.0003365 | 0.20202 | 0.14266 | 0.82467 | 0.73856 | -0.13794 | 0.10188 | 0.2962 | 2.2874e-05 | 0.26993 | 0.13423 | 0.78913 | 0.70417 | -0.12958 | 0.09125 | 0.2653 | 6.7938e-06 | 0.3006 | 0.97027 | 1.0528 | 1.1316

## Varied LED Power
| Intensity [mW/cm2] | Intensity [lux] | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | System A | System B | System C
[27 empty] | Normalied PCE | Normalied PCE | Normalied PCE
Varied LED Power |  |  | System A | System A | System A | System A | System A | System A | System A | System A | System B | System B | System B | System B | System B | System B | System B | System B | System C | System C | System C | System C | System C | System C | System C | System C | System A | System B | System C
0.2 | 0.34187 | 1000 | 0.14925 | 1.0609 | 0.96813 | -0.14545 | 0.14081 | 0.4119 | 0.0003365 | 0.20202 | 0.14189 | 0.82454 | 0.73842 | -0.1372 | 0.10131 | 0.29634 | 2.2874e-05 | 0.26993 | 0.13354 | 0.789 | 0.70405 | -0.12891 | 0.09076 | 0.26548 | 6.7938e-06 | 0.3006 | 0.97087 | 1.0523 | 1.1308
0.4 | 0.34165 | 1000 | 0.14926 | 1.0609 | 0.96813 | -0.14546 | 0.14083 | 0.41219 | 0.0003365 | 0.20202 | 0.14176 | 0.82451 | 0.7384 | -0.13707 | 0.10121 | 0.29624 | 2.2874e-05 | 0.26993 | 0.13339 | 0.78897 | 0.70402 | -0.12877 | 0.09066 | 0.26535 | 6.7938e-06 | 0.3006 | 0.97018 | 1.0527 | 1.1314
0.6 | 0.34214 | 1000 | 0.14948 | 1.0609 | 0.96817 | -0.14568 | 0.14104 | 0.41224 | 0.0003365 | 0.20202 | 0.14193 | 0.82455 | 0.73843 | -0.13724 | 0.10134 | 0.29619 | 2.2874e-05 | 0.26993 | 0.13355 | 0.789 | 0.70405 | -0.12892 | 0.09077 | 0.26529 | 6.7938e-06 | 0.3006 | 0.97008 | 1.0528 | 1.1316
0.8 | 0.34324 | 1000 | 0.14994 | 1.061 | 0.96824 | -0.14613 | 0.14149 | 0.4122 | 0.0003365 | 0.20202 | 0.14238 | 0.82463 | 0.73851 | -0.13767 | 0.10167 | 0.29621 | 2.2874e-05 | 0.26993 | 0.13397 | 0.78908 | 0.70413 | -0.12933 | 0.09106 | 0.26531 | 6.7938e-06 | 0.3006 | 0.97015 | 1.0528 | 1.1315
Unattenuated | 0.34394 | 1000 | 0.15022 | 1.0611 | 0.96829 | -0.1464 | 0.14176 | 0.41215 | 0.0003365 | 0.20202 | 0.14266 | 0.82467 | 0.73856 | -0.13794 | 0.10188 | 0.2962 | 2.2874e-05 | 0.26993 | 0.13423 | 0.78913 | 0.70417 | -0.12958 | 0.09125 | 0.2653 | 6.7938e-06 | 0.3006 | 0.97027 | 1.0528 | 1.1316
0.05 | 0.3465 | 1000 | 0.15081 | 1.0612 | 0.96838 | -0.14697 | 0.14233 | 0.41075 | 0.0003365 | 0.20202 | 0.14406 | 0.82492 | 0.7388 | -0.1393 | 0.10291 | 0.29701 | 2.2874e-05 | 0.26993 | 0.13568 | 0.7894 | 0.70444 | -0.13099 | 0.09227 | 0.26629 | 6.7938e-06 | 0.3006 | 0.97358 | 1.0499 | 1.1273

## Tandem Prism Attenuator
| Intensity [mW/cm2] | Intensity [lux] | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | System A | System B | System C
[27 empty] | Normalied PCE | Normalied PCE | Normalied PCE
Prism Attenuator |  |  | System A | System A | System A | System A | System A | System A | System A | System A | System B | System B | System B | System B | System B | System B | System B | System B | System C | System C | System C | System C | System C | System C | System C | System C | System A | System B | System C
PA pos 1 | 0.3382 | 1000 | 0.14811 | 1.0607 | 0.96794 | -0.14434 | 0.13971 | 0.4131 | 0.0003365 | 0.20202 | 0.13935 | 0.82408 | 0.73798 | -0.13474 | 0.09944 | 0.29401 | 2.2874e-05 | 0.26993 | 0.13096 | 0.78851 | 0.70357 | -0.12642 | 0.08895 | 0.263 | 6.7938e-06 | 0.3006 | 0.96804 | 1.0606 | 1.1414
PA pos 2 | 0.32781 | 1000 | 0.14129 | 1.0595 | 0.96678 | -0.13769 | 0.13311 | 0.40607 | 0.0003365 | 0.20202 | 0.13219 | 0.82275 | 0.73669 | -0.12781 | 0.09416 | 0.28723 | 2.2874e-05 | 0.26993 | 0.12394 | 0.78711 | 0.70223 | -0.11964 | 0.08401 | 0.25629 | 6.7938e-06 | 0.3006 | 0.9848 | 1.0857 | 1.1713
PA pos 3 | 0.34083 | 1000 | 0.14604 | 1.0603 | 0.96759 | -0.14233 | 0.13772 | 0.40406 | 0.0003365 | 0.20202 | 0.13698 | 0.82365 | 0.73756 | -0.13245 | 0.09769 | 0.28662 | 2.2874e-05 | 0.26993 | 0.12844 | 0.78801 | 0.7031 | -0.12399 | 0.08718 | 0.25578 | 6.7938e-06 | 0.3006 | 0.98969 | 1.088 | 1.1737
PA pos 4 | 0.35305 | 1000 | 0.1524 | 1.0614 | 0.96864 | -0.14853 | 0.14387 | 0.40751 | 0.0003365 | 0.20202 | 0.14446 | 0.82499 | 0.73886 | -0.13968 | 0.10321 | 0.29233 | 2.2874e-05 | 0.26993 | 0.13583 | 0.78943 | 0.70446 | -0.13113 | 0.09238 | 0.26165 | 6.7938e-06 | 0.3006 | 0.98132 | 1.0667 | 1.1473
PA pos 5 | 0.37171 | 1000 | 0.16157 | 1.0629 | 0.97008 | -0.15747 | 0.15276 | 0.41096 | 0.0003365 | 0.20202 | 0.15494 | 0.82676 | 0.74058 | -0.14982 | 0.11096 | 0.2985 | 2.2874e-05 | 0.26993 | 0.14611 | 0.79127 | 0.70624 | -0.14106 | 0.09962 | 0.26801 | 6.7938e-06 | 0.3006 | 0.97308 | 1.0447 | 1.1201
Unattenuated | 0.34394 | 1000 | 0.15022 | 1.0611 | 0.96829 | -0.1464 | 0.14176 | 0.41215 | 0.0003365 | 0.20202 | 0.14266 | 0.82467 | 0.73856 | -0.13794 | 0.10188 | 0.2962 | 2.2874e-05 | 0.26993 | 0.13423 | 0.78913 | 0.70417 | -0.12958 | 0.09125 | 0.2653 | 6.7938e-06 | 0.3006 | 0.97027 | 1.0528 | 1.1316

## Neutral Density Filter
| Intensity [mW/cm2] | Intensity [lux] | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | J_sc | V_oc | V_mpp | J_mpp | P_mpp | PCE | EQE_EL | Delta_V_oc_nr | System A | System B | System C
[27 empty] | Normalied PCE | Normalied PCE | Normalied PCE
ND Filter |  |  | System A | System A | System A | System A | System A | System A | System A | System A | System B | System B | System B | System B | System B | System B | System B | System B | System C | System C | System C | System C | System C | System C | System C | System C | System A | System B | System C
ND 180 | 0.38754 | 1000 | 0.16853 | 1.0639 | 0.97112 | -0.16426 | 0.15952 | 0.41162 | 0.0003365 | 0.20202 | 0.16415 | 0.82822 | 0.74199 | -0.15875 | 0.11779 | 0.30394 | 2.2874e-05 | 0.26993 | 0.15534 | 0.79282 | 0.70774 | -0.14999 | 0.10615 | 0.27391 | 6.7938e-06 | 0.3006 | 0.97154 | 1.026 | 1.096
ND 240 | 0.37078 | 1000 | 0.16179 | 1.0629 | 0.97011 | -0.15768 | 0.15297 | 0.41256 | 0.0003365 | 0.20202 | 0.1558 | 0.8269 | 0.74071 | -0.15066 | 0.1116 | 0.30099 | 2.2874e-05 | 0.26993 | 0.14709 | 0.79144 | 0.70641 | -0.14202 | 0.10032 | 0.27057 | 6.7938e-06 | 0.3006 | 0.96931 | 1.0361 | 1.1095
ND 300 | 0.35585 | 1000 | 0.15542 | 1.0619 | 0.96913 | -0.15147 | 0.14679 | 0.41251 | 0.0003365 | 0.20202 | 0.14852 | 0.82569 | 0.73954 | -0.14361 | 0.10621 | 0.29846 | 2.2874e-05 | 0.26993 | 0.13997 | 0.79019 | 0.7052 | -0.13513 | 0.0953 | 0.2678 | 6.7938e-06 | 0.3006 | 0.96943 | 1.0448 | 1.121
Unattenuated | 0.34394 | 1000 | 0.15022 | 1.0611 | 0.96829 | -0.1464 | 0.14176 | 0.41215 | 0.0003365 | 0.20202 | 0.14266 | 0.82467 | 0.73856 | -0.13794 | 0.10188 | 0.2962 | 2.2874e-05 | 0.26993 | 0.13423 | 0.78913 | 0.70417 | -0.12958 | 0.09125 | 0.2653 | 6.7938e-06 | 0.3006 | 0.97027 | 1.0528 | 1.1316